中国国家校准规范目录清单

JJF 1001-1998 通用计量术语及定义General Terms in Metrology and Their Definitions
JJF 1002-1998 国家计量检定规程编定规则The Rules forDeafting Nationl Metrological verification Regulation
JJF 1004-2004 流量计量名词术语及定义Metrological Terms and Their Definitions for Flow Rate
JJF 1005-2005 标准物质常用术语和定义Terms and Difinitions Used in Reference Materials
JJF 1006-1994 一级标准物质技术规范Technical Norm of Primary Reference Materials
JJF 1007-1987 温度计量名词术语(试行)Temperature Metrological Terms and Their Definitions
JJF 1007-2007 温度计量名词术语(试行)Temperature Metrological Terms and Their Definitions
JJF 1008-1987 压力计量名词术语及定义Pressure Metrological Terms and Their Definitions
JJF 1008-2008 压力计量名词术语及定义Pressure Metrological Terms and Their Definitions
JJF 1009-2006 容量计量术语及定义Metrological Terms and Definittions for Capacity
JJF 1010-1987 长度计量名词术语及定义Length Metological Terms and Their Definitions
JJF 1011-2006 力值与硬度计量术语及定义Terminology and Definitions for Metrology of Force and Hardness
JJF 1012-2007 常用湿度计量名词术语(试行)General Terms for Humidity Measurement
JJF 1013-1989 磁学计量常用名词术语及定义(试行)Terms in Common Use and Their Difinition for the Magneic Metrology
JJF 1014-1989 罐内液体石油产品计量技术规范Technical Norm of the Measurement of Liquid Petroleum Products in Tands
JJF 1015-2002 计量器具型式评价和型式批准通用规范General Norm for Pattren Evaluation and Pattern Approval of Measuring Instruments
JJF 1016-2002 计量器具型式评价大纲编写导则The Rules for Drafting Program of Pattern Evaluation of Measuring Instruments
JJF 1017-1990 使用硫酸铈-亚铈剂量计测量γ射线水吸收剂量标准方法Standard Method for Using the Ceric-Cerous Sulfate Dosimeter to Measure γ-ray Absorted Dose in Water
JJF 1018-1990 使用重铬酸钾(银)剂量计测量γ射线水吸收剂量标准方法Standard Method for Using the Potassium(silver)Dichromate Dosimeter to Measure γ-ray Absorbed Dose in Water
JJF 1019-1990 60Co远距离治疗束吸收剂量的邮寄监测方法Postcheck Method for 60Co radiothorapy Beam Absorbed Dose
JJF 1020-1990 r射线辐射加工剂量保证监测方法Dose Assurence Monitoring Method for γ-Ray Radiation Processing Level
JJF 1021-1990 产品质量检验机构计量认证技术考核规范The Technical Examination Norm for Metrology Accreditation of Testing Unit for Testing of Product Quality
JJF 1022-1991 计量标准命名规范The Technical Norm of Designation for Metrological Staandard
JJF 1023-1991 常用电学计量名词术语(试行)Greneral Metrological Terms for electrical Measurement
JJF 1023-2008 常用电学计量名词术语(试行)Greneral Metrological Terms for electrical Measurement
JJF 1024-2006 计量器具的可靠性分析Reliability Analysis for Measuring Instruments
JJF 1024-2008 计量器具的可靠性分析Reliability Analysis for Measuring Instruments
JJF 1025-1991 机械秤改装规范Technical Norm of Machine Scale Remake
JJF 1025-2008 机械秤改装规范Technical Norm of Machine Scale Remake
JJF 1026-1991 光子和高能电子束吸收剂量测定方法Absorbed Dose Determination in Poton and Electron Beams
JJF 1026-2008 光子和高能电子束吸收剂量测定方法Absorbed Dose Determination in Poton and Electron Beams
JJF 1028-1991 使用重铬酸钾银剂量计测量r射线水吸收剂量标准方法Standard Method for Using the Silver Dichromate Dosimeter to Measure γ-Ray Absorbed Dose in Water
JJF 1029-1991 电子探针定量分析用标准物质研制规范The Technical Norm for Development of Cerified Reference Materied Used in Quantitative Analysis of Electron Microprobe
JJF 1030-1998 恒温槽技术性能测试规范Measurement and Test Norm of Thermostatic Bath's Technological Characteristic
JJF 1031-1992 依法管理的物理化学计量器具分类规范The chassifical Norm of Physical and Chemical Measuring Instruments Managed by Metrogical Los
JJF 1032-2005 光学辐射计量名词及定义(试行)Terminology and definitions for optical Radiation Measurement
JJF 1033-2003* 计量标准考核规范Rule for the Examination of Measurement Standard[过期]
JJF 1033-2008 计量标准考核规范Rule for the Examination of Measurement Standard[更新]
JJF 1034-2005 声学计量名词及定义(试行)Metrological Terms and their Definitions for Acoustics
JJF 1035-2006 电离辐射计量术语及定义Ionizing Radiation Metrological Terms
JJF 1036-1993 交流电能表检定装置试验规范Test Norm of Verification Equipment for AC Electrical Energy Meter
JJF 1037-1993 线列固体图像传感器特性参数测试技术规范Technical Norm of measurement and Test of Characteristic Parameters for Linear Solid State Image Sensors
JJF 1038-1993 直流电阻计量保证方案技术规范(试行)Technical Specification of MAP for D C resistance
JJF 1039-1993 同轴功率计量保证方案技术规范(试行)T.S.of MAP for Coaxial Power
JJF 1040-1993 射频衰减计量保证方案技术规范(试行)T.S.of MAP for Radio Attenuation
JJF 1041-1993 磁性材料磁参数计量保证方案技术规范(试行)T.S. of MAP for Propertise of Magnetic Materials
JJF 1042-1993 直流电动势计量保证方案技术规范(试行)T.S. of MAP for DC EMF'S
JJF 1043-1993 维氏硬度计量保证方案技术规范(试行)T.S. of MAP for Veckers Hardness
JJF 1044-1993 放射性核素活度计量保证方案技术规范(试行)T.S. of Map for Activity of Radionuclides
JJF 1045-1993 长度(量块)计量保证方案技术规范(试行)T.S. of MAP for Length of Gauge Block
JJF 1046-1994 金属电阻应变计的工作特性技术规范T.S. of Performance Characteristics of Metallic Resistance Strain Gauges
JJF 1047-1994 磁耦合直流电流测量变换器校准规范Calibratiom Specification for Magnetical Coupling Measuring
JJF 1048-1995 数据采集系统校准规范C.S.of Data Acguisition System
JJF 1049-1995 温度传感器动态响应校准规范C.S.of Temperature Sensor's Dynamic Response
JJF 1050-1996 工作用热传导真空计校准规范C.S.of Working Thermal Conducting Vacuum Gauge
JJF 1051-1996 工作计量器具命名与分类代码规范Norm of Designation for Working Measuring Instrument and its Classification Cade
JJF 1052-1996 气流式纤维细度测定仪的校准规范C.S.of Fibre Fineness Tester of Airflow Method
JJF 1053-1996 负荷传感器动态特性校准规范C.S.of Dynamic Characteristic of Load Cell
JJF 1054-1996 人血清无机成分分析结果评定规范Evaluation Specification for Analysis Result of Inorganic Composition in Serum
JJF 1056-1998 燃油加油机税控装置技术规范The Technical Norm For Revenue control Device of Fuel Dispenser
JJF 1057-1998 数字存储示波器校准规范C.S.of Digital Storage Oscilloscope
JJF 1059-1999* 测量不确定度评定与表示Evaluation and Expression of Uncertainty in Measurement
JJF 1061-1999 税控燃油加油机制造许可证考核规范The Examination Specification of Manufacturing Competence for Fuel Dispensers with Revenue Function
JJF 1062-1999 电离真空计校准规范C.S.of Ionization Vacuum Gauge
JJF 1063-2000 石油螺纹单项参数检查仪校准规范C.S.for Instruments of Thread Inspection Of Casing,Tubing Line Pipe and New Rotary Shouldered Connection
JJF 1064-2004 坐标测量机校准规范C.S.for Coordinate Measuring Machines
JJF 1065-2000 射频通信测试校准规范C.S.for RF Communication Test Set
JJF 1066-2000 测长机校准规范C.S.for Length Measuring Instruments
JJF 1067-2000 工频电压比例标准装置校准规范C.S.for Sets of Voltage Ratio Standards at Power Frequency
JJF 1068-2000 工频电流比例标准装置校准规范C.S.for Sets of Current Ratio Standards at Power Frequency
JJF 1069-2007 法定计量检定机构考核规范Rules for the Examination of the Service of Legal Metrological Verification
JJF 1070-2005 定量包装商品净含量计量检验规则Rules of Metrological Testing for Net Quantity of Products in Prepackages with Fixed Content
JJF 1071-2000 国家计量校准规范编写规则The Rules for Drafting National Calibration Specifications
JJF 1072-2000 齿厚卡尺校准规范C.S.for Gear Tooth Calipers
JJF 1073-2000 高频Q表校准规范C.S.for HF Q-Meters
JJF 1074-2001 酒精密度-浓度测量用表Measurement Tables for Density-Concentration of Alcohol
JJF 1075-2001 钳形电流表校准规范C.S.of Clamp Ammeters
JJF 1076-2001 湿度传感器校准规范C.S.of Humidity Sensors
JJF 1077-2002 测微准直望远镜校准规范C.S.for Micro-alignment Telescopes
JJF 1078-2002 光学测角比较仪校准规范C.S.for Optcal Comparators for Angle Measurements
JJF 1079-2002 阴极射线管彩色分析仪校准规范C.S.for Cathode Ray Tube(CRT)Color Analyzers
JJF 1080-2002 (-50～90)℃黑体辐射源校准规范C.S.for Blackbody Radiators in (-50～90)℃
JJF 1081-2002 垂准仪校准规范C.S.for Plumb Instruments
JJF 1082-2002 平板仪校准规范C.S.for Plane Tables
JJF 1083-2002 光学倾斜仪校准规范C.S.for Optical Clinometers
JJF 1084-2002 框式水平仪和条式水平仪校准规范C.S.for Frame Levels and Shaft Levels
JJF 1085-2002 水平尺校准规范C.S.for Level Rules
JJF 1087-2002 直流大电流测量过程控制技术规范T.S.for Measurement Control System for Heavy Direct Current
JJF 1088-2002 外径千分尺(测量范围500mm～3000mm)校准规范C.S.for Micrometers with Measuring Range form 500mm~3000mm
JJF 1089-2002 滚动轴承径向游隙测量仪校准规范C.S.for Instruments for Measuring Radial Clearance of Rolling Bearing
JJF 1090-2002 非金属建材塑限测定仪校准规范C.S.for Nonmetal Building Materials Plastic Measuring Instruments
JJF 1091-2002 测量内尺寸千分尺校准规范C.S.for Micrometers for Measuring Inside Dimension
JJF 1092-2002 光切显微镜校准规范C.S.for Light Section Microscopes
JJF 1093-2002 投影仪校准规范C.S.for Projectors
JJF 1094-2002 测量仪器特性评定技术规范T.S.for Evaluation of the Characteristics of Measuring Instruments
JJF 1095-2002 电容器介质损耗测量仪校准规范C.S.for Capacitor Dielectric Loss Meters
JJF 1096-2002 引申计标定器校准规范C.S.for Calibrator of Extensometers
JJF 1097-2003 平尺校准规范C.S.for Calibration Specification for Staight Edges
JJF 1098-2003 热电偶、热电阻自动测量系统校准规范C.S.for Auto-measuring System of Thermocouples and Resistance Thermometers
JJF 1099-2003 表面粗糙度比较样块校准规范C.S.of Roughness Comparison Specimens
JJF 1100-2003 平面等厚干涉仪校准规范C.S.for Flat Equal Thickness Interferometers
JJF 1101-2003 环境试验设备温度、湿度校准规范C.S.for the Equipment of Environmental Testing for Temperature and Humidity
JJF 1102-2003 内径表校准规范C.S.for Bore Dial Indicators
JJF 1103-2003 万能试验机计算机数据采集系统评定Evaluation for Computerized Data Acquisition Systems of Universal Testing Machines
JJF 1104-2003 国家计量检定系统表编写规则Rule for Drafting National Verification Scheme
JJF 1105-2003 触针式表面粗糙度测量仪校准规范C.S.for Contact(Stylus) Instruments of Surface Roughness Measurement by the Profile Method
JJF 1106-2003 眼镜产品透射比测量装置校准规范C.S.for Transmittance Measuring Equipment for Ophthalmic Products
JJF 1107-2003 测量人体温度的红外温度计校准规范C.S.for Infrared Thermometers for Measurement of Human Temperature
JJF 1108-2003 石油钻具接头螺纹工作量规、圆螺纹套管工作量规和油管螺纹工作量规校准规范C.S.for working Gauge of Rotary Shouldered Connections,Round Thread Casing and Tubing
JJF 1109-2003 跳动检查仪校准规范C.S.for Concentricity Testers
JJF 1110-2003 建筑工程质量检测器组校准规范C.S.for Coustruction Quality Tester Sets
JJF 1111-2003 调制度测量仪校准规范C.S.of Modulation
JJF 1112-2003 计量检测体系确认规范Rules for Confirmation of Metrology Testing System
JJF 1113-2004 轴承套圈角度表针件测量仪校准规范C.S.of Angle Measuring Instument for Bearing Ring
JJF 1114-2004 光学、数显分度台校准规范C.S.for Optical & Digital Dividing Tables
JJF 1115-2004 光电轴角编码器校准规范C.S.for Photoelectric Shaft Encoders
JJF 1116-2004 线加速度计的精密离心机校准规范C.S.for Linear Accelerometer Used Precision Centrifuger
JJF 1117-2004 测量仪器比对规范Specification for Comparison of Measuring Instrument
JJF 1118-2004 全球定位系统(GPS)接收机(测地型和导航型)校准规范C.S.for Global positioning System (GPS) Receiver
JJF 1119-2004 电子水平尺校准规范C.S.for Electronic Level Meter
JJF 1120-2004 热电离同位素质谱计校准规范C.S.for Thermal Ionizatiog Isotope Mass Spectrometers
JJF 1121-2004 手持式齿距比较仪校准规范C.S.for Hand-hold Pitch Comparator
JJF 1122-2004 齿轮螺旋线测量仪器校准规范C.S.for Gear Helix Measuring Instruments
JJF 1123-2004 基圆齿距比较仪校准规范C.S.for Base Circle Pitch Comparaor
JJF 1124-2004 齿轮渐开线测量仪器校准规范C.S.for Gear Involute Measuring Instuments
JJF 1125-2004 滚刀检查仪校准规范C.S.for Calibration Specification for Gear Hob Tester
JJF 1126-2004 超声波测厚仪校准规范C.S.for Ulrasonic Thickness Instrument
JJF 1127-2004 射频阻抗/材料分析仪校准规范C.S.for RF Impedance/Material Analyzers
JJF 1128-2004 矢量信号分析仪校准规范C.S.for Vector Signal Analyzers
JJF 1129-2005 尿液分析仪校准规范C.S.of Urine Analyzers
JJF 1130-2005 几何量测量设备校准中的不确定度评定指南Guide to the Estimation of Uncertainty in Calibration of Geometrical Measuring Equipment
JJF 1131-2005 TDMA-GSM数字移动通信综合测试仪校准规范C.S.for TDMA-GSM Radio Communication Testers
JJF 1132-2005 组合式角度尺校准规范C.S.for Combined Type Angle Rules
JJF 1133-2005 X射线荧光光谱法黄金含量分析仪校准规范C.S.of Gold Gauge Utilizing X-ray Fluorescence Spectometry
JJF 1134-2005 专用工作测力机校准规范C.S.for Working Force Measuring Machines for Special Purposes
JJF 1135-2005 化学分析测量不确定度评定Evaluation of Uncertainty in Chemical Analysis Measurement
JJF 1136-2005 音准仪校准规范C.S.of Tonometers
JJF 1137-2005 传声器前置放大器校准规范C.S.for Microphone Premplifiers
JJF 1138-2005 铣刀磨后检查仪校准规范C.S.for the Testers of Sharpened Milling Cutter
JJF 1139-2005 计量器具检定周期确定原则和方法Principle and Method for Determination Verification Period of Measuring Instruments
JJF 1140-2006 直角式检查仪校准规范C.S.for Square Testers 
JJF 1141-2006 汽车转向角检验台校准规范D.S.for Turning Angle Testers for Automobile
JJF 1142-2006 建筑声学分析仪校准规范C.S.for Building Acoustics Analyzers
JJF 1143-2006 混响室声学特性校准规范C.S.for Acoustic Performance of Reverberation Rooms
JJF 1144-2006 电磁骚扰测量接收机校准规范C.S.for EMI Testing Receivers
JJF 1145-2006 驻极体传声器测试仪校准规范C.S.for Electret Microphone Instruments
JJF 1146-2006 消声水池声学特性校准规范C.S.for Acoustic Characteristics of Anechoic Water Tand
JJF 1147-2006 消声室和半消声室声学特性校准规范C.S.for Acoustic Performance of Anechoic Rooms and Hemi-anechoic Rooms
JJF 1148-2006 角膜接触镜检测仪校准规范C.S.for Test Devices of Contact Lenses
JJF 1149-2006 心脏除颤器和心脏除颤监护仪校准规范C.S.for Cardiac Defibrillators & Cardiac Defibrillator-monitors
JJF 1150-2006 光电探测器相对光谱响应度校准规范C.S.for Relative Spectral Responsivity for Photoelectric Detectors
JJF 1151-2006 车轮动平衡机校准规范C.S.for Wheel Dynamic Balancers
JJF 1152-2006 任意波发生器校准规范C.S.for Arbitrary Waveform Generator
JJF 1153-2006 冲击加速度计(绝对法)校准规范C.S.for Shock Accelermeters(Absolute Method)
JJF 1154-2006 四轮定位仪校准规范C.S.for Four-wheel alignmenter
JJF 1155-2006 30MHz～1.0GHz功率吸收钳校准规范C.S.for Absorbing Clamp in the Range of 30MHz to 1.0GHz
JJF 1156-2006 振动冲击转速计量术语及定义Terminology and Definitons for Measurement of Vibration,Shock and Rotating Velocity
JJF 1157-2006 测量放大器校准规范C.S.for Measuring Amplifiers
JJF 1158-2006 稳定同位素气体质谱仪校准规范C.S.for Stable Istope Gas Mass Spectrometer
JJF 1159-2006 四极杆电感耦合等离子体质谱仪校准规范C.S.for Quadrupole Inductively Coupled Plasma Mass Spectometers
JJF 1160-2006 中小规模数字集成电路测试设备校准规范C.S.of Small & Medium Scale Integrated Circuit Testing System
JJF 1161-2006 催化燃烧式甲烷测定器型式评价大纲Program of Pattern Evalation of Heating Catalytic methane alarm Detector
JJF 1162-2006 粉尘采样器型式评价大纲Program of Pattern Evaluation of Dust Sampler
JJF 1163-2006 光干涉式甲烷测定器型式评价大纲Program of Pattern Evaluation of Methane Detector of Interferometer Type
JJF 1164-2006 台式气相色谱-质谱联用仪校准规范C.S.for Bench Top Gsa Chromatography-Mass Spectrometer
JJF 1165-2007 信纳表校准规范Calibration Specification for SINAD Meters
JJF 1166-2007 激光扫平仪校准规范Calibration Specification for Rotating Lasers
JJF 1167-2007 杂音计校准规范Calibration Specification for Psophometers
JJF 1168-2007 便携式制动性能测试仪校准规范Calibration Specification for Portable Braking Peffomance Tester for Motor Vehicles
JJF 1169-2007 汽车制动操纵力计校准规范Calibration Specification for Manipulationg Force Tester for Automotive Brake
JJF 1170-2007 负温度系数低温电阻温度计校准规范
JJF 1171-2007 温度巡回检测仪校准规范Calibration Specification for Temperature Itinerant Detecting Instrument
JJF 1172-2007 挥发性有机化合物光离子化检测仪校准规范Calibration Specification for Volatile Organic Compounds Photo Ionization Detectors
JJF 1173-2007 测量接受机校准规范C.S. of Measuring Receivers 
JJF 1174-2007 数字信号发生器校准规范 C.S. for Digital Signal Generator 
JJF 1175-2007 试验筛校准规范Calibration Specification for Test Sieves
JJF 1176-2007 (0～1500)℃钨铼热电偶校准规范Calibration Specification for(0~1500)℃ Tungsten-Rhenium Thermocouples
JJF 1177-2007 CDMA数字移动通信综合测试仪校准规范C.S. of CDMA Digital Radio Communication Testers
JJF 1178-2007 用于标准铂电阻温度计固定点装置校准规范
JJF 1179-2007 集成电路高温动态老化系统校准规范C.S. of High Temperature Dynamic IC Burn-in System 
JJF 1180-2007 时间频率计量名词术语及定义Glossary and Definition of Time and Frequency Metrology
JJF 1181-2007 衡器计量名词术语及定义 Weighing Instrument Terms in Metrology and Their Definitions
JJF 1182-2007 计量器具软件测评指南Guide for Software Testing of Measuring Insturmenes
JJF 1183-2007 温度变送器校准规范 Calibration Specification of the Temperature Transmitter
JJF 1184-2007 热电偶检定炉温度场测试技术规范Testing Specification of Temperature Uniformity in Thermocouple Calibration Furnaces
JJF 1185-2007 速度型滚动轴承振动测量仪校准规范Calibration Specification for Vibrometer(Velocity)of Rolling Bearings
JJF 1186-2007 标准物质认定证书和标签内容编写规则　The Rules for Drafting of Contents for Certificates and Labels of Certified Reference Materials
JJF 1187-2008 热像仪校准规范 Calibration Specification for Thermal Imagers
JJF 1188-2008 无线电计量名词术语及定义Terms and Their Definitions for Radio Measurement
JJF 1189-2008 测长仪校准规范C.S. for Length Measuring Instrument
JJF 1190-2008 尘埃粒子计数器校准规范Calibration Specification Airborne Particle counter 
JJF 1191-2008 测听室声学特性校准规范
JJF 1192-2008 汽车悬架装置检测台校准规范Calibration Specification for Automotive Suspension Tester
JJF 1193-2008 非接触式汽车速度计校准规范C.S.for Non-contact Automotive Speedmeter
JJF 1194-2008 轮胎强度及脱圈试验机校准规范C.S. of Tester for Tyre Strength and Bead Unseating Resistance
JJF 1195-2008 轮胎耐久性及轮胎高速性能转鼓试验机校准规范C.S.of Drum Tester for Tyre Endurance and High Speed Test
JJF 1196-2008 机动车方向盘转向力—转向角检测仪校准规范C.S.of Motor Vehicle Testers for Steering Force and Steering Angle
JJF 1197-2008 光纤色散测试仪校准规范C.S.of Optical Fiber Chromatic Dispersion Test Sets
JJF 1198-2008 通信用可调谐激光源校准规范C.S.of Tunable Laser Source for Telecommunications
JJF 1199-2008 通信用光衰减器校准规范C.S.of Optical Attenuator for Telecommunications
JJF 1200-2008 声频功率放大器校准规范C.S.for Audio-frequency Power Amplifiers
JJF 1201-2008 助听器测试仪校准规范C.S.for Hearing Aids Measurement Instruments
JJF 1202-2008 驻极体传声器校准规范C.S.for Electret Microphones
JJF 1203-2008 电声产品（扬声器类）功率寿命试验仪校准规范C.S.for Electro-acoustic Products(Loudspeakers)Power Life-span Measurement Equipments
JJF 1204-2008 TD-SCDMA数字移动通信综合测试仪校准规范C.S.for TD-SCDMA Digital Radio Communication Testers
JJF 1205-2008 谐波和闪烁分析仪校准规范C.S.for Harmonious and Flicker Analysis system
JJF 1206-2008 频率标准与数字时钟的远程校准校准规范
JJF 1207-2008 针规、三针校准规范C.S. for Cylindrical Measuring Pin
JJF 1208-2008 沥青针入度仪校准规范Calibration Specification for Apparatus for Determining Penetration of Bituminus Materials
JJF 1209-2008 齿轮齿距测量仪校准规范Calibration Specification for Gear Pitch Measuring Instruments 
JJF 1210-2008 低速转台校准规范C.S.for Rate Table
JJF 1211-2008 激光粒度分析仪校准规范C.S.of Static Light Scattering Particle Size Analyzer
JJF 1212-2008 便携式动态轴重仪校准规范C.S.of Portable Weighing Instruments for Axle of Vehicle in Motion
JJF 1213-2008 肺功能仪校准规范C.S.for the Pulmonary Function Measuring Instrument
JJF 1214-2008 长度基线场校准规范Specification of Base line and Base net Calibration
JJF 1215-2009 整体式内镜千分尺(6000mm～10000mm)校准规范

详情请登录http://www.szclc.net